## O+M v4 Breakdown
LEED Lab Timing Chart
Get started > Implement > Track
Available in Master Site? | Phase |  |  | # | Credit | Primary Requirement/Document | Points attempted | Team members | Due Date
| Start up | Implement | Track | Project Information
| ü |  |  | PI form | Project Information Form | Site Plan
| ü |  |  | PI form |  | Floor plans, sections, photos
Location and Transportation
|  | ü |  | Credit | Alternative Transportation | Conduct Survey
|  |  | ü | Credit |  | Compile Results
Yes |  | ü |  | Credit |  | Alt Transport Program
Sustainable Sites
Yes | ü |  |  | Prereq | Site Management Policy | Policy
Yes | ü |  |  | Credit | Site Development - Protect or Restore Habitat | On-site: Site plan
|  | ü |  | Credit |  | Off-site: Financial Support
Yes | ü |  |  | Credit | Rainwater Management | Calculations
|  | ü |  | Credit |  | Annual inspection
| ü |  |  | Credit | Heat Island Reduction | Site and roof plan
|  | ü |  | Credit |  | Maintenance program
Yes | ü |  |  | Credit | Light Pollution Reduction | Fixture shielding
| ü |  |  | Credit |  | Measurements
|  |  | ü | Credit | Site Management | Performance tracking
Yes | ü |  |  | Credit | Site Improvement Plan | Improvement Plan
|  | ü |  | Credit |  | Implement measures
Water Efficiency
Yes | ü |  |  | Prereq | Indoor Water Use Reduction | Replacement policy
| ü |  |  | Prereq/Credit |  | Calc: Fixture inventory and cut sheets
| ü |  |  | Prereq/Credit |  | Metered: Meters
|  |  | ü | Prereq/Credit |  | Metered: Historical and Current Data
| ü |  |  | Prereq | Building Level Water Metering | Meters
|  |  | ü | Prereq |  | Reporting
Yes | ü |  |  | Credit | Outdoor Water Use Reduction | Calc: Theoretical calculations
Yes | ü |  |  | Credit |  | Metered: Meters
|  |  | ü | Credit |  | Metered: Historical and Current Data
Yes | ü |  |  | Credit | Cooling Tower Water Use | Plan
|  | ü |  | Credit |  | Meters and controls
| ü |  |  | Credit | Water Metering | Meters
|  |  | ü | Credit |  | Reporting
Energy and Atmosphere
| ü |  |  | Prereq | Energy Efficiency Best Management Practices | CFR, O+M Plan
|  | ü |  | Prereq |  | ASHRAE Level 1 Walkthrough Analysis
| ü |  |  | Prereq/Credit | Minimum Energy Performance/Optimize Energy Performance | Select appropriate benchmark and analyze energy use
|  |  | ü | Prereq/Credit |  | Track most recent 12 months energy use
| ü |  |  | Prereq | Building-Level Energy Metering | Meters
|  |  | ü | Prereq |  | Share data
| ü |  |  | Prereq | Fundamental Refrigerant Management | HVAC&R equipment inventory
|  | ü |  | Prereq |  | Feasibility analysis/CFC phase-out plan, if applicable
| ü |  |  | EAc1 | Existing Building Commissioning - Analysis | Commissioning or Energy Audit Plan
|  | ü |  | EAc1 |  | Conduct Cx or Audit
|  | ü |  | Credit | Existing Building Commissioning - Implementation | Implement low and no-cost measures
|  | ü |  | Credit |  | Capital Plan
|  | ü |  | Credit |  | Formal Measurement and Verification Program
| ü |  |  | Credit | Ongoing Commissioning | Ongoing Cx Plan
|  | ü |  | Credit |  | Plan implementation
| ü |  |  | Credit | Advanced Energy Metering | Meters
|  |  | ü | Credit |  | Track consumption and demand
| ü |  |  | Credit | Demand Response | Evaluate system capability
| ü |  |  | Credit |  | Plan/Commitment
|  | ü |  | Credit |  | Test plan/confirm reduction
| ü |  |  | Credit | Renewable Energy and Carbon Offsets | On-site: Installed renewable energy system
|  | ü |  | Credit |  | Off-site: Offsets contract
|  |  | ü | Credit |  | All: Measured energy use
| ü |  |  | Credit | Enhanced Refrigerant Management | HVAC&R equipment inventory
| ü |  |  | Credit |  | Refrigerant impact calculations, if applicable
Materials and Resources
Yes | ü |  |  | Prereq | Ongoing Purchasing and Waste Policy | Policy
|  | ü |  | Prereq |  | Waste audit or high diversion
Yes | ü |  |  | Prereq | Facility Maintenance and Renovation Policy | Policy
|  |  | ü | Credit | Purchasing - Ongoing | Purchase tracking
|  |  | ü | Credit | Purchasing - Lamps | Purchase tracking
|  |  | ü | Credit | Purchasing - Facility Maintenance and Renovation | Purchase tracking
|  |  | ü | Credit | Solid Waste Management - Ongoing | Purchase tracking
|  |  | ü | Credit | Solid Waste Mgmt - Facility Maintenance and Renovation | Purchase tracking
| Indoor Environmental Quality | Indoor Environmental Quality | Indoor Environmental Quality | Indoor Environmental Quality
| ü |  |  | Prereq | Min Indoor Air Quality Performance | 62.1 VRP calculations
|  | ü |  | Prereq |  | OA measurements, Exhaust fan testing
|  | ü |  | Prereq |  | HVAC system maintenance
Yes | ü |  |  | Prereq | ETS Control | Smoking policy, communication
|  | ü |  | Prereq |  | Signage
|  | ü |  | Prereq |  | Residential: Smoking room testing
Yes | ü |  |  | Prereq | Green Cleaning Policy | In-house: Policy
|  | ü |  | Prereq |  | Contracted: 3rd party audit
| ü |  |  | Credit | IAQ Management Program | IAQ management program
|  | ü |  | Credit |  | I-BEAM Audit
| ü |  |  | Credit | Enhanced Indoor Air Quality Strategies | Opt 1: Entryway systems
|  | ü |  | Credit |  | Opt 1: Entryway system maintenance
| ü |  |  | Credit |  | Opt 2A: Filtration media
| ü |  |  | Credit |  | Opt 2B: CO2 Monitors
|  | ü |  | Credit |  | Opt 2B: Calibration reports
|  | ü |  | Credit |  | Opt 2B: Trend graphs
| ü |  |  | Credit |  | Opt 2C/D: OA Monitors
|  | ü |  | Credit |  | Opt 2C/D: Calibration reports
| ü |  |  | Credit |  | Opt 2E: Alarmed openings
| ü |  |  | Credit | Thermal Comfort | Monitoring systems, devices, sensors
|  | ü |  | Credit |  | Calibration reports
|  | ü |  | Credit |  | Trend graphs
| ü |  |  | Credit | Controllability of Systems - Lighting | Inventory of lighting controls
| ü |  |  | Credit | Daylight and Quality Views | Daylight: Measurements
| ü |  |  | Credit |  | Quality Views: Calculations
|  | ü |  | Credit | Green Cleaning - Custodial Effectiveness Assessment | APPA audit
|  |  | ü | Credit | Green Cleaning - Products and Materials | Purchase tracking
| ü |  | ü | Credit | Green Cleaning - Equipment | Equipment inventory
| ü |  |  | Credit | Integrated Pest Management | Plan
|  |  | ü | Credit |  | Application log
|  | ü |  | Credit | Occupant Comfort Survey | Survey
|  | ü |  | Credit |  | Results, corrective actions
Innovation
|  | ü |  | Credit | Innovation in Operations | Innovation
|  | ü |  | Credit |  | Pilot Credit
|  | ü |  | Credit |  | Innovation/Pilot Credit/Exemplary Performance
|  | ü |  | Credit |  | Innovation/Pilot Credit/Exemplary Performance
|  | ü |  | Credit |  | Innovation/Pilot Credit
Yes |  | ü |  | Credit | LEED Accredited Professional | LEED AP
Regional Priority
|  | ü |  | Credit | Insert Regional Priority Credit
|  | ü |  | Credit | Insert Regional Priority Credit
|  | ü |  | Credit | Insert Regional Priority Credit
|  | ü |  | Credit | Insert Regional Priority Credit
|  | ü |  | Credit | Insert Regional Priority Credit
|  | ü |  | Credit | Insert Regional Priority Credit
0
0

## O+M v4 - Performance Score
LEED Lab Timing Chart
Get started > Implement > Track
Available in Master Site? | Phase |  |  | # | Credit | Primary Requirement/Document | Points attempted | Team members | Due Date | Notes for performannce path
| Start up | Implement | Track | Project Information
| ü |  |  | PI form | Project Information Form | Site Plan
| ü |  |  | PI form |  | Floor plans, sections, photos
|  | ü |  | data | Transportation performance category | 25% response rate to transportation survey in LEEDon.io, review score |  |  |  | https://www.leedon.io/gettingstarted.html
NA | NA | NA | NA | Credit | Alternative Transportation | NA | NA | NA | NA | Compliance demonstrated through perfromance data
Sustainable Sites
Yes | ü |  |  | Prereq | Site Management Policy | Policy
Yes | ü |  |  | Credit | Site Development - Protect or Restore Habitat | On-site: Site plan
|  | ü |  | Credit |  | Off-site: Financial Support
Yes | ü |  |  | Credit | Rainwater Management | Calculations
|  | ü |  | Credit |  | Annual inspection
| ü |  |  | Credit | Heat Island Reduction | Site and roof plan
|  | ü |  | Credit |  | Maintenance program
Yes | ü |  |  | Credit | Light Pollution Reduction | Fixture shielding
| ü |  |  | Credit |  | Measurements
|  |  | ü | Credit | Site Management | Performance tracking
Yes | ü |  |  | Credit | Site Improvement Plan | Improvement Plan
|  | ü |  | Credit |  | Implement measures
Water Efficiency
Yes | ü |  |  | Prereq | Indoor Water Use Reduction | Replacement policy
| ü |  |  | Prereq/Credit |  | Calc: Fixture inventory and cut sheets
| ü |  |  | Prereq/Credit |  | Metered: Meters
|  |  | ü | Prereq/Credit |  | Metered: Historical and Current Data
NA | NA | NA | NA | Prereq | Building Level Water Metering | NA | NA | NA | NA | Compliance demonstrated through performance data
NA | NA | NA | NA | Credit | Outdoor Water Use Reduction | NA | NA | NA | NA | Compliance demonstrated through performance data
NA | NA | NA | NA | Credit | Cooling Tower Water Use | NA | NA | NA | NA | Compliance demonstrated through performance data
NA | NA | NA | NA | Credit | Water Metering | NA | NA | NA | NA | Compliance demonstrated through performance data
| ü |  | ü | data | Water performance category | 12 consecutive months of water use data entered in leedon.io, review score |  |  |  | https://www.leedon.io/gettingstarted.html
Energy and Atmosphere
| ü |  |  | Prereq | Energy Efficiency Best Management Practices | CFR, O+M Plan
|  | ü |  | Prereq |  | ASHRAE Level 1 Walkthrough Analysis
| ü |  |  | Prereq/Credit | Minimum Energy Performance/Optimize Energy Performance | Select appropriate benchmark and analyze energy use
|  |  | ü | Prereq/Credit |  | Track most recent 12 months energy use
NA | NA | NA | NA | Prereq | Building-Level Energy Metering | NA | NA | NA | NA | Compliance demonstrated through performance data
| ü |  |  | Prereq | Fundamental Refrigerant Management | HVAC&R equipment inventory
|  | ü |  | Prereq |  | Feasibility analysis/CFC phase-out plan, if applicable
NA | NA | NA | NA | EAc1 | Existing Building Commissioning - Analysis | NA | NA | NA | NA | Compliance demonstrated through performance data
NA | NA | NA | NA | Credit | Existing Building Commissioning - Implementation | NA | NA | NA | NA | Compliance demonstrated through performance data
NA | NA | NA | NA | Credit | Ongoing Commissioning | NA | NA | NA | NA | Compliance demonstrated through performance data
NA | NA | NA | NA | Credit | Advanced Energy Metering | NA | NA | NA | NA | Compliance demonstrated through performance data
NA | NA | NA | NA | Credit | Demand Response | NA | NA | NA | NA | Compliance demonstrated through performance data
NA | NA | NA | NA | Credit | Renewable Energy and Carbon Offsets | NA | NA | NA | NA | Compliance demonstrated through performance data
| ü |  |  | Credit | Enhanced Refrigerant Management | HVAC&R equipment inventory
| ü |  |  | Credit |  | Refrigerant impact calculations, if applicable
| ü |  | ü | data | Energy performance category | 12 consecutive months of energy use data entered in leedon.io, review score |  |  |  | https://www.leedon.io/gettingstarted.html
Materials and Resources
Yes | ü |  |  | Prereq | Ongoing Purchasing and Waste Policy | Policy
|  | ü |  | Prereq |  | Waste audit or high diversion
Yes | ü |  |  | Prereq | Facility Maintenance and Renovation Policy | Policy
NA | NA | NA | NA | Credit | Purchasing - Ongoing | NA | NA | NA | NA | Compliance demonstrated through performance data
NA | NA | NA | NA | Credit | Purchasing - Lamps | NA | NA | NA | NA | Compliance demonstrated through performance data
NA | NA | NA | NA | Credit | Purchasing - Facility Maintenance and Renovation | NA | NA | NA | NA | Compliance demonstrated through performance data
NA | NA | NA | NA | Credit | Solid Waste Management - Ongoing | NA | NA | NA | NA | Compliance demonstrated through performance data
NA | NA | NA | NA | Credit | Solid Waste Mgmt - Facility Maintenance and Renovation | NA | NA | NA | NA | Compliance demonstrated through performance data
|  | ü |  | data | Waste performance category | waste audit data entered in leedon.io, review score |  |  |  | https://www.leedon.io/gettingstarted.html
| Indoor Environmental Quality | Indoor Environmental Quality | Indoor Environmental Quality | Indoor Environmental Quality
| ü |  |  | Prereq | Min Indoor Air Quality Performance | 62.1 VRP calculations |  |  |  | Thermal Comfort
|  | ü |  | Prereq |  | OA measurements, Exhaust fan testing |  |  |  | Controllability of Systems - Lighting
|  | ü |  | Prereq |  | HVAC system maintenance |  |  |  | Daylight and Quality Views
Yes | ü |  |  | Prereq | ETS Control | Smoking policy, communication |  |  |  | Green Cleaning - Custodial Effectiveness Assessment
|  | ü |  | Prereq |  | Signage |  |  |  | Green Cleaning - Products and Materials
|  | ü |  | Prereq |  | Residential: Smoking room testing |  |  |  | Green Cleaning - Equipment
Yes | ü |  |  | Prereq | Green Cleaning Policy | In-house: Policy |  |  |  | Integrated Pest Management
|  | ü |  | Prereq |  | Contracted: 3rd party audit
NA | NA | NA | NA | Credit | IAQ Management Program | NA | NA | NA | NA | Compliance demonstrated through performance data
NA | NA | NA | NA | Credit | Enhanced Indoor Air Quality Strategies | NA | NA | NA | NA | Compliance demonstrated through performance data
| ü |  |  | Credit | Thermal Comfort | Monitoring systems, devices, sensors
|  | ü |  | Credit |  | Calibration reports
|  | ü |  | Credit |  | Trend graphs
| ü |  |  | Credit | Controllability of Systems - Lighting | Inventory of lighting controls
| ü |  |  | Credit | Daylight and Quality Views | Daylight: Measurements
| ü |  |  | Credit |  | Quality Views: Calculations
|  | ü |  | Credit | Green Cleaning - Custodial Effectiveness Assessment | APPA audit
|  |  | ü | Credit | Green Cleaning - Products and Materials | Purchase tracking
| ü |  | ü | Credit | Green Cleaning - Equipment | Equipment inventory
| ü |  |  | Credit | Integrated Pest Management | Plan
|  |  | ü | Credit |  | Application log
NA | NA | NA | NA | Credit | Occupant Comfort Survey | NA | NA | NA | NA | Compliance demonstrated through performance data
|  | ü |  | data | Human Experience category | 25% response rate to survey in leedon.io, review score |  |  |  | https://www.leedon.io/gettingstarted.html
|  | ü |  | data | Human Experience category | Interior carbon dioxide levels |  |  |  | https://www.leedon.io/gettingstarted.html
|  | ü |  | data | Human Experience category | Interior total volatile organic levels |  |  |  | https://www.leedon.io/gettingstarted.html
Innovation
NA | NA | NA | NA | Credit | Innovation in Operations | NA | NA | NA | NA | Compliance demonstrated through performance data
NA | NA | NA | NA | Credit | Innovation in Operations | NA | NA | NA | NA | Compliance demonstrated through performance data
NA | NA | NA | NA | Credit | Innovation in Operations | NA | NA | NA | NA | Compliance demonstrated through performance data
NA | NA | NA | NA | Credit | Innovation in Operations | NA | NA | NA | NA | Compliance demonstrated through performance data
NA | NA | NA | NA | Credit | Innovation in Operations | NA | NA | NA | NA | Compliance demonstrated through performance data
NA | NA | NA | NA | Credit | LEED Accredited Professional | NA | NA | NA | NA | Compliance demonstrated through performance data
Regional Priority
NA | NA | NA | NA | Credit | Insert Regional Priority Credit | NA | NA | NA | NA | Compliance demonstrated through performance data
NA | NA | NA | NA | Credit | Insert Regional Priority Credit | NA | NA | NA | NA | Compliance demonstrated through performance data
NA | NA | NA | NA | Credit | Insert Regional Priority Credit | NA | NA | NA | NA | Compliance demonstrated through performance data
NA | NA | NA | NA | Credit | Insert Regional Priority Credit | NA | NA | NA | NA | Compliance demonstrated through performance data
NA | NA | NA | NA | Credit | Insert Regional Priority Credit | NA | NA | NA | NA | Compliance demonstrated through performance data
NA | NA | NA | NA | Credit | Insert Regional Priority Credit | NA | NA | NA | NA | Compliance demonstrated through performance data
0
0